PUBLIC ENTERPRISE „ELECTRIC POWER INDUSTRY OF SERBIA“ BELGRADE

ELECTRIC POWER INDUSTRY OF SERBIA PE BELGRADE-BRANCH ТЕНТ

St: Bogoljuba Urosevica Crnog no.44.

Place: Obrenovac

No 105-E.03.01-65189/8-2016

Oбрeнoвaц 04.03.2016.

Pursuant to Article 54 and 63 of the Law on Public Procurement ("Official Gazette of RS", no. 124/12, 14/15 and 68/15), the Commission for public procurement no. 3000/1632/2015 (102379/2015) for the procurement of "Hydraulic components for HP by-pass and spare parts", at the request of the interested party, gives:

ADDITIONAL INFORMATION OR CLARIFICATION

REGARDING PREPARATION OF BID no**. 3**

Five or more days before the expiry of deadline for submission of bids, an interested party requested additional information i.e. clarification from the Purchaser, in writing, and within three days of receipt of the request, the Purchaser published on the Public Procurement Portal and website of the Purchaser, the following information, i.e. clarifications:

**QUESTION 1**: Position 20. – Distribution unit for SBE 116. We need a better specification of this part. So can you specify on which valve is this SSB mounted and what voltage is it using (24V or 48V)?

**ANSWER 1:** Position 20. Voltage which is used on SBE 116 is 24V.

SBE 116 units (3 pcs. )are installed on actuator ASM 200-11 witch is on HP Bypass steam control valve.

We want complete SBE 116 unit (complete block )consisting of : 3/2-way solenoid valve,2/2-way valve, 2 check valve inserts, connection plug, connecting manifold and complete seal set.

КОМИСИЈА

.......................................

.......................................

……………………………